# Civil Rights Review – Building Accessibility

[Fill In] School District

[Fill In] High School

[ Please Fill In The Exact Date ], 2026

Facilities Packet Completed By

Name:

Title:

Date(s) of Completion:

Before signing this document, verify that the content you are signing is correct. Please sign below:

Facilities Accessibility Self-Assessment

A review of each facility where CTE classes are offered will be made. The accessibility review will include parking areas, walkways/hallways, ramps, building entrances, libraries, cafeterias, restrooms, locker rooms as well as CTE program areas/classrooms and other assembly areas as determined.

*If every building does not have an accessible restroom and/or water fountain, an accessible restroom and/or water fountain must be within near proximity, and of reasonable distance/ travel, from the non-accessible restroom and/or water fountain.

All agencies are responsible for compliance with Section 504. Applicable accessibility standards are determined by the date the facility was constructed or last renovated, as follows (ANSI, UFAS, and 2010 ADA Standards). All non-compliant areas, irrespective of built /alteration date, must be corrected in accordance with the 2010 ADA Standards.

How to use this guide — please read Each of the 18 area sections begins with a SECTION DETAILS box. Click the highlighted fields to fill them in: • Location / Building name — type the location (e.g., "Main Wing Restroom"). • Date constructed / Date of ADA modification — click to open a calendar picker. • Era — Standard at construction (and after modification) — pick the date range that applies. The dropdown labels include the standard name (Program Access, ANSI A117.1, UFAS, 1991 ADA, 2010 ADA). ADDING ANOTHER INSTANCE (Restroom #2, CTE Lab #3, etc.) Click any SECTION DETAILS box. A small "+" button appears at the right edge. Click "+" to add another Section Details box for the same area. Repeat the questions below that section for the second instance, labeling each by location. AUTO-DETERMINED STANDARD The applicable standard is the LATER of the two eras you pick (construction era vs. modification era). The reviewer will verify on site.

Accessibility Standards

- Existing Facility under 504 - Built or altered beginning June 3, 1977, or earlier (34 CFR Section 104.22(a))

- American National Standards Institute (ANSI) - Built or altered between June 4, 1977, and January 17, 1991 (34 CFR Section 104.23(a))

- Uniform Federal Accessibility Standards (UFAS) - Built or altered between January 18, 1991, and January 26, 1992 (28 CFR Section 35.151.; (34 CFR Section 104.23(c)))

- 1991 Americans with Disabilities Act (ADA) - Constructed or altered on or after January 27, 1992 and before September 15, 2010 (28 CFR Section 36, Appendix D; (34 CFR Section 104.23)

- 2010 Americans with Disabilities Act (ADA) - Constructed on or after March 15, 2012 (28 CFR Section 35; (34 CFR Section 104.23)

The included checklist provides the framework for the evaluation of accessibility at the school site as described by Americans with Disabilities Act and guidelines published by the U.S. Department of Education, Office for Civil Rights.

Table of Contents

Tips for Measuring	5

Accessible Parking Spaces	8

Accessible Routes / Walkways	10

Stairways and Steps	11

Ramps	12

Curb Ramps	15

Entrances, Doors, and Gates	18

Rooms & Offices (Assembly Areas Available to Students)	20

Elevator(s) Building	22

Lifts	24

Accessible Drinking Fountains	25

Water Coolers & Bottle Fillers	27

Library	31

CTE Classroom(s)	33

Labs/Shops	35

Gymnasium/Auditorium/Weight Room/Other	37

Stadium/Field	40

Dressing, Fitting and Locker Rooms	41

Restrooms (Male/Female)	45

Public Telephones	48

Glossary of Terms	49

# Tips for Measuring:

Parking spaces:

Access aisles: Measure in inches

Parking spaces: Measure in inches

Curb Ramps: Measure in inches

Cross Slope of curb ramps: Measure in degrees or percentages or proportions

Door(s) at Entrance(s) and Exits(s):

Height of door handle: Measure Ground floor to handle in inches

Width of door(s): Measure in inches

Door opening force: The force for pushing or pulling open a door or gate; Measure in pounds

Threshold at doorway: Measure in inches

Signage:

Height if accessible signage: Measure from the floor to the centerline of sign, in inches

Height of characters of signage: Measure in inches

Elevator(s):

Height of call button: Measure from floor to center of call button panel

Width of Door: Measure in inches

Depth and Length of elevator: Measure in inches

Control height: Measure from floor to middle of call button panel, in inches

Height if Emergency Communication: Measure from floor to bottom of panel, in inches

Lift(s):

Height of controls: Measure from floor to middle of control panel, in inches

Benches: Measure from floor to the top of the bench

Toilet/Restrooms

Measure:

Height of grab bars: from floor to center line of grab bars

Height of toilet seat: from floor to toilet seat edge

Height of flush control(s): from floor to control(s)

Height of mirror: from floor to reflecting edge of mirror

Height of toilet paper dispenser: from floor to operable part of dispenser(s)

Height of soap dispenser: from floor to operable part of dispenser(s)

Height of paper towel dispenser: from floor to operable part of dispenser(s)

Height of automatic hand dryer(s): from floor to operable part of dispenser(s)

Height of disposal unit(s): from floor to top of unit(s)Height of lavatory: From floor to rim

Drinking Fountains

Measure:

Height of fountain: floor to spout outlet in inches

Height of spout: floor to tip of water spout

Height of flow: turn flow on, measure from spout to top of arc, in inches

Handrails: Height: Measure vertically from ground to top of handrail, in inches

Tables and counters:

Measure:

Tops: From floor to the table or counter top, in inches

Knee clearance (under tables, telephones), in inches:

From

- floor to lower edge of table.

- depth from table edge to leg of table

- width of work surface

Sales and Services counters require additional measurements than the reception counter tops:

- forward reach approach

- parallel approach

Curb Ramps:

Only measure the width of the ramp section of the curb ramp (labeled “ramp” on the image below). The ramp section of a curb ramp is also known as the “ramp run.” If the curb ramp has flared sides, which can also be seen in the illustration to the bottom, do not include them in the measurement. The ramp run must be at least 36 inches wide.

Running Slope:

The running slope of the curb ramp is the slope in the direction that people travel when going up or down the ramp run. The arrow in the illustration below, aligned parallel to the ramp run and perpendicular to the curb, shows where to measure the running slope.

Cross Slope:

The cross slope of the curb ramp is perpendicular to the running slope. Unlike the running slope, which runs along the ramp, the cross slope is measured across the ramp. The arrow in the illustration to the right, aligned perpendicular to the ramp run and parallel to the curb, shows where to measure the cross slope. The cross slope of a curb ramp, or any accessible route, may not exceed 2 percent.

Gutter Slope:

The gutter is the part of the street that borders the curb. To measure the gutter slope, place the level in the same position as the arrow in the illustration, with one end where the gutter meets the ramp and the other end towards the street. The gutter slope is parallel to the ramp and perpendicular to the curb.

Measurement: Slope is the measure of how steep a straight line is. For a ramp the maximum running slope allowed is 1:12. That means for every inch of height change there should be at least 12 inches of ramp run (length).

Tools Needed: Smart Level or Measuring Tape

# Accessible Parking Spaces: [location      ]

| SECTION DETAILS — ACCESSIBLE PARKING SPACES |  |
| --- | --- |
| Location / Building name: | Click to enter location or building name |
| Date constructed: | Click to pick date constructed |
| Era — Standard at construction: | Click to choose era → standard |
| Date of ADA modification: | Click to pick modification date, or skip |
| Era — Standard after modification: | Click to choose era → standard (or N/A) |
| Describe modification: | Click to describe what was modified (e.g., restroom gutted and rebuilt) |
| ▸ Applicable Standard = the LATER of the two eras above. If "Not modified," use the construction era. Reviewer will verify. |  |

*Note: If section is not applicable, please check “N/A” box.

| Year Built: |  |
| --- | --- |
| ADA Modification Date(s): N/A |  |
| Identify ADA Modifications: N/A |  |

- Total number of parking spaces:

- Total number of accessible spaces:

- Total number of van accessible spaces:

- Is at least one of every six accessible parking spaces van accessible? Yes  No Are accessible parking spaces located closest to the nearest accessible route?

Yes  No

- Are accessible parking spaces marked with lines? Yes  No

  - Width of accessible parking spaces:

- Is the location of the access aisle to the right or left of the accessible space?

Right  Left

- Is the access aisle marked to discourage parking in it? Yes  No

  - Width of access aisle:

  - Does the ground surface have a slope? Yes  No

  - If yes, is the slope less than 1:48? Yes  No

- Are accessible spaces marked with a vertical sign showing the international symbol of accessibility (ISA)? Yes  No

  - Height of accessible (ISA) signage:

  - Does the ISA contrast with the background with either a light-on-dark or dark-on-light background? Yes  No

- Are van accessible spaces clearly marked with lines?

  - Width of van accessible space (in inches):

- Location of van accessible aisle (right or left of van accessible space)

Right  Left

- Is the van access aisle clearly marked to discourage parking in it? Yes  No

  - Width of access aisle:

  - Does the ground surface have a slope? Yes  No

  - If yes, is the slope less than 1:48? Yes  No

- Are there parking spaces open on one side, allowing room for individuals in wheelchairs or on braces and crutches, to get in and out of a vehicle and onto a level surface? Yes  No

- Is it necessary for individuals with physical disabilities to wheel or walk behind parked cars? Yes  No

- What is the vertical clearance for van parking spaces/ access aisles?

  - Vertical Clearance measurement (in inches):

- Are van accessible spaces marked with a vertical sign showing the international symbol of accessibility (ISA)? Yes  No

  - Are the signs reading “Van Accessible” at van spaces? Yes  No

  - Height of Van Accessible (ISA) signage

  - Does the ISA contrast with the background with either a light-on-dark or dark-on-light background? Yes  No

- Are detectable warnings provided at curb ramps in transit facilities (at curb ramps and along open drop-offs of boarding platforms)? Yes   No

*If yes, include the curb ramp measurements under the section titled, “Curb Ramps”

Additional Information:

# Accessible Routes / Walkways [from accessible parking, passenger loading zones, streets, sidewalks, to accessible building or facility entrance ]

| SECTION DETAILS — ACCESSIBLE ROUTES / WALKWAYS |  |
| --- | --- |
| Location / Building name: | Click to enter location or building name |
| Date constructed: | Click to pick date constructed |
| Era — Standard at construction: | Click to choose era → standard |
| Date of ADA modification: | Click to pick modification date, or skip |
| Era — Standard after modification: | Click to choose era → standard (or N/A) |
| Describe modification: | Click to describe what was modified (e.g., restroom gutted and rebuilt) |
| ▸ Applicable Standard = the LATER of the two eras above. If "Not modified," use the construction era. Reviewer will verify. |  |

*Note: If section is not applicable, please check “N/A” box.

| Year Built: |  |
| --- | --- |
| ADA Modification Date(s): N/A |  |
| Identify ADA Modifications: N/A |  |

- Is there at least one (1) accessible route from the site’s arrival points to the facility entrance? Yes  No

- Are inaccessible entrances marked? Yes  No

- Width measurement of public walkways:

- Is the path of travel  stable,  firm,  slip resistant, and  accessible to the nearest accessible entrance? Yes  No

- Are walkways of a continuing common surface not interrupted by steps or abrupt changes in level? Yes  No

- Wherever the path(s) of travel cross other walkways, driveways, or parking lots do walkways blend to a common level? Yes  No

- Does the path(s) of travel blend at driveways and parking lots or have curb cuts at driveways and parking lots? Yes  No

- Are there any protruding objects? Yes  No

  - If yes, please describe:

Additional Information:

# Stairways and Steps[Location:       ]

| SECTION DETAILS — STAIRWAYS AND STEPS |  |
| --- | --- |
| Location / Building name: | Click to enter location or building name |
| Date constructed: | Click to pick date constructed |
| Era — Standard at construction: | Click to choose era → standard |
| Date of ADA modification: | Click to pick modification date, or skip |
| Era — Standard after modification: | Click to choose era → standard (or N/A) |
| Describe modification: | Click to describe what was modified (e.g., restroom gutted and rebuilt) |
| ▸ Applicable Standard = the LATER of the two eras above. If "Not modified," use the construction era. Reviewer will verify. |  |

*Note: If section is not applicable, please check “N/A” box.

| Year Built: |  |
| --- | --- |
| ADA Modification Date(s): N/A |  |
| Identify ADA Modifications: N/A |  |

- Do steps avoid abrupt nosing (the horizontal, protruding edge of a stair where most foot traffic frequently occurs)? Yes  No

- Are handrails provided on both sides of stairs? Yes  No

  - Height of Handrails:

  - Length of Handrails:

- Do steps have risers? Yes  No

  - Height of risers:

Additional Information:

# Ramps

| SECTION DETAILS — RAMPS |  |
| --- | --- |
| Location / Building name: | Click to enter location or building name |
| Date constructed: | Click to pick date constructed |
| Era — Standard at construction: | Click to choose era → standard |
| Date of ADA modification: | Click to pick modification date, or skip |
| Era — Standard after modification: | Click to choose era → standard (or N/A) |
| Describe modification: | Click to describe what was modified (e.g., restroom gutted and rebuilt) |
| ▸ Applicable Standard = the LATER of the two eras above. If "Not modified," use the construction era. Reviewer will verify. |  |

Any part of an accessible route with a slope greater than 1:20 shall be considered a ramp and shall comply with the standards. Include ramps to main office, CTE classrooms, restrooms, library, cafeteria, auditorium, gymnasium, portables, and other permanent rooms (if applicable).

Note: If section is not applicable, please indicate “N/A” or check the “N/A” box.

| Ramp location: |  |  |  |  |
| --- | --- | --- | --- | --- |
| Year Built: |  |  |  |  |
| ADA Modification Date(s): N/A |  |  |  |  |
| Identify ADA Modifications: N/A |  |  |  |  |
| Rise measurement (height of runs): |  |  |  |  |
| Length measurement: |  |  |  |  |
| Running Slope of ramp (as a ratio): |  |  |  |  |
| Is the slope of ramp less than 1:12 (4.76°)? | Yes No | Yes No | Yes No | Yes No |
| Cross Slope of ramp (as a ratio): |  |  |  |  |
| Does the ramp have a surface which is stable, firm, and slip-resistant? | Yes No | Yes No | Yes No | Yes No |
| Is there accessible ramp landing at the top and bottom of the ramp? | Yes No | Yes No | Yes No | Yes No |
| Enter the length (L) and Width (W) measurement of the top landing: | L: W: | L: W: | L: W: | L: W: |
| Enter the length (L) and Width (W) measurement of the bottom landing: | L: W: | L: W: | L: W: | L: W: |
| Is there an intermediate landing between runs? | Yes No | Yes No | Yes No | Yes No |
| Does ramp change direction? | Yes No | Yes No | Yes No | Yes No |
| *If yes, what are the length (L) and width (W) measurements of the landing at direction change (intermediate landing)? | L: W: | L: W: | L: W: | L: W: |
| Is the landing subject to wet conditions? | Yes No | Yes No | Yes No | Yes No |
| If yes, what is the landing slope? (to allow for drainage) |  |  |  |  |
| Clear width of ramp (measured between handrails where provided): |  |  |  |  |
| Do ramps have handrails on both sides? | Yes No | Yes No | Yes No | Yes No |
| Number of Handrails: |  |  |  |  |
| Height of handrails: |  |  |  |  |
| Are handrails 34 to 38 inches in height as measured from the surface of the ramp? | Yes No | Yes No | Yes No | Yes No |
| Do the handrails have a smooth surface and extend beyond the top and bottom of ramp? | Yes No | Yes No | Yes No | Yes No |
| Does the ramp have a switchback or dogleg? | Yes No | Yes No | Yes No | Yes No |
| Height of edge protection: |  |  |  |  |
| Handrail extensions in place? | Yes No | Yes No | Yes No | Yes No |
| Enter the length of the handrail extensions: |  |  |  |  |
| Are handrails continuous? | Yes No | Yes No | Yes No | Yes No |
| *If handrails are not continuous, enter the length of the horizontal handrail extensions (need photo): |  |  |  |  |

Additional Information:

# Curb Ramps

| SECTION DETAILS — CURB RAMPS |  |
| --- | --- |
| Location / Building name: | Click to enter location or building name |
| Date constructed: | Click to pick date constructed |
| Era — Standard at construction: | Click to choose era → standard |
| Date of ADA modification: | Click to pick modification date, or skip |
| Era — Standard after modification: | Click to choose era → standard (or N/A) |
| Describe modification: | Click to describe what was modified (e.g., restroom gutted and rebuilt) |
| ▸ Applicable Standard = the LATER of the two eras above. If "Not modified," use the construction era. Reviewer will verify. |  |

Requirements for curb ramps apply to ramps that cut through curbs or are built up to them.

Note: If section is not applicable, please indicate, “Not Applicable”

| Ramp location: |  |  |  |  |
| --- | --- | --- | --- | --- |
| Year Built: |  |  |  |  |
| ADA Modification Date(s): N/A |  |  |  |  |
| Identify ADA Modifications: N/A |  |  |  |  |
| Rise measurement (height of runs): |  |  |  |  |
| Length measurement: |  |  |  |  |
| Running Slope of curb ramp: |  |  |  |  |
| Cross slope of curb ramps: |  |  |  |  |
| Does the Curb Ramp have flare sides? | Yes No | Yes No | Yes No | Yes No |
| Flare Sides of Curb Ramps Ratio: |  |  |  |  |
| Gutter Slope Measurement: |  |  |  |  |
| Are landings provided at the tops of curb ramps? | Yes No | Yes No | Yes No | Yes No |
| Measurement of the landing area (length and width): | L: W: | L: W: | L: W: | L: W: |
| Are curb ramps placed diagonally at an intersection? | Yes No | Yes No | Yes No | Yes No |
| If yes, what is the clear space measurement? |  |  |  |  |
| Is there raised Islands in crossings? | Yes No | Yes No | Yes No | Yes No |
| If yes, enter the length and width of the curb ramp separation: | L: W: | L: W: | L: W: | L: W: |
| Does the ramp have a surface which is stable, firm, and slip-resistant? | Yes No | Yes No | Yes No | Yes No |
| Are detectable warnings provided at curb ramps in transit facilities? (at curb ramps and along open drop-offs of boarding platforms) | Yes No | Yes No | Yes No | Yes No |
| If yes, enter the size and spacing of the domes: | Size: Spacing: | Size: Spacing: | Size: Spacing: | Size: Spacing: |
| Do detectable warning have a light-on-dark or dark-on-light contrast with adjacent walking surface? | Yes No | Yes No | Yes No | Yes No |
| Are gratings located in walking surfaces? | Yes No | Yes No | Yes No | Yes No |
| Space of grating exceeds ½ inch wide in one direction. | Yes No | Yes No | Yes No | Yes No |
| Any obstructions? (List) |  |  |  |  |

Additional Information:

# Entrances, Doors, and Gates[Location/Building No.:      ]

| SECTION DETAILS — ENTRANCES, DOORS, AND GATES |  |
| --- | --- |
| Location / Building name: | Click to enter location or building name |
| Date constructed: | Click to pick date constructed |
| Era — Standard at construction: | Click to choose era → standard |
| Date of ADA modification: | Click to pick modification date, or skip |
| Era — Standard after modification: | Click to choose era → standard (or N/A) |
| Describe modification: | Click to describe what was modified (e.g., restroom gutted and rebuilt) |
| ▸ Applicable Standard = the LATER of the two eras above. If "Not modified," use the construction era. Reviewer will verify. |  |

*Note: If section is not applicable, please check “N/A” box.

| Year Built: |  |
| --- | --- |
| ADA Modification Date(s): N/A |  |
| Identify ADA Modifications: N/A |  |

- Is at least one primary entrance (doorway) to each building usable by individuals in wheelchairs? Yes  No

- Total number of accessible entrances:

- Do inaccessible entrances have signage providing directions to accessible entrances? Yes  No

- Is there a ramp that leads to the entrance? Yes  No

*If yes, include the ramp measurements under the section titled, “Ramps”

- Is the entrance clearly marked with the international symbol of accessibility (ISA)?

Yes  No

  - Height of accessible signage (from floor to centerline of the sign, in inches)

  - Does the ISA contrast with the background with either a light-on-dark or dark-on-light background? Yes  No

- Is signage provided to identify rooms and spaces? Yes  No

  - Height of characters on signage:

  - Are signs mounted on the wall adjacent to the latch side of the door?

Yes  No

  - At double doors, are the signs placed on the nearest adjacent wall?

Yes  No

  - Are there any protruding objects within three (3) inches of the sign?

Yes  No   If yes, please describe:

  - Do the signs’ characters and background have a non-glare finish?

Yes  No

  - Are characters on signs raised and accompanied by grade II (contracted) braille? Yes  No

- Is there an automatic door opener for accessible entrances/exits? Yes  No

- Is there an accessibility access button/control (push to open)? Yes  No

- Can door be opened without grasping or twisting of the wrist? Yes  No

  - If not, what type of hardware is on the door (i.e., push bar, door knob, push/pull lever, etc.)?

  - Height of door handle (ground floor to handle in inches):

  - If door has a closer, does it take at least 3 seconds to close? Yes  No

  - Enter the door opening force in pounds (push/pull weight)

- Is the floor, on the inside and outside of each doorway level, a distance of five feet from the door, in the direction the door swings? Yes  No

- Measurement of the doorway platform beyond each side of the door:

- Are sharp inclines and abrupt changes in level avoided at door threshold?

Yes  No

- Thresholds height level at doorway: exterior       interior:

- If provided, are carpeting or mats a ½ inch high? Yes  No

- Is the main entrance a fire door? Yes  No

- Total number of exits provided

- Is there a visual alarm? Yes  No

  - Does light flash? Yes  No

  - Does light flash clear or normal white? Yes  No

  - Is there an audible alarm? Yes  No

  - Does the alarm sound exceed the prevailing sound level in room?

Yes  No

Additional Information:

# Rooms & Offices (Assembly Areas Available to Students) [Location/Building No.:      ]

| SECTION DETAILS — ROOMS & OFFICES (ASSEMBLY AREAS AVAILABLE TO STUDENTS) |  |
| --- | --- |
| Location / Building name: | Click to enter location or building name |
| Date constructed: | Click to pick date constructed |
| Era — Standard at construction: | Click to choose era → standard |
| Date of ADA modification: | Click to pick modification date, or skip |
| Era — Standard after modification: | Click to choose era → standard (or N/A) |
| Describe modification: | Click to describe what was modified (e.g., restroom gutted and rebuilt) |
| ▸ Applicable Standard = the LATER of the two eras above. If "Not modified," use the construction era. Reviewer will verify. |  |

| *Note: If section is not applicable, please check “N/A” box. | Office Name: | Office Name: |
| --- | --- | --- |
| Room numbers: |  |  |
| Year Built: |  |  |
| ADA Modification Date(s): N/A |  |  |
| Identify ADA Modifications: N/A |  |  |
| Is the room/office located along an accessible route? | Yes No | Yes No |
| Is signage provided to identify rooms and spaces? | Yes No | Yes No |
| Height of signage (from floor to centerline of the sign, in inches) |  |  |
| Height of characters on signage: |  |  |
| Are signs mounted on the wall adjacent to the latch side of the door? | Yes No | Yes No |
| At double doors, are the signs placed on the nearest adjacent wall? | Yes No | Yes No |
| Are there any protruding objects within three (3) inches of the sign? | Yes No | Yes No |
| Do the signs’ characters and background have a non-glare finish? | Yes No | Yes No |
| Are characters on signs raised and accompanied by grade II (contracted) braille? | Yes No | Yes No |
| Is there a visual alarm? | Yes No | Yes No |
| Does light flash (for the visual alarm)? | Yes No | Yes No |
| Does light flash clear or normal white? | Yes No | Yes No |
| Is there an audible alarm? | Yes No | Yes No |
| Does the alarm sound exceed the prevailing sound level in room? | Yes No | Yes No |
| Enter the number of entrances and exits provided |  |  |
| Is the entrance/ exit door a fire door or exterior hinged door? | Yes No | Yes No |
| Width of doorway(s) to office: |  |  |
| Height of door handle: |  |  |
| Can door be opened without grasping or twisting of the wrist? | Yes No | Yes No |
| If not, what type of hardware is on the door (i.e., push bar, door knob, push/pull lever, etc.)? |  |  |
| If door has a closer, does it take at least 3 seconds to close? | Yes No | Yes No |
| Door opening force in pounds (push/pull weight) |  |  |
| Is there an accessible Sales and Services reception area countertop? (Sales and Services requires additional measurements) | Yes No | Yes No |
| Forward reach approach (in inches): |  |  |
| Parallel approach (in inches): |  |  |
| Is there an accessible reception area countertop? (If there is no accessible reception countertop, provide measurements for alternative if available (i.e., table, etc.). | Yes No | Yes No |
| Height of reception area counter top (in inches): |  |  |
| Counter top length & width measurement (in inches): |  |  |
| Knee clearance of counter top (in inches): |  |  |
| Depth of counter top (in inches): |  |  |
| If accessible desk and workstations do not have sufficient clearance, is there an alternative option for students? (Please explain below in “Additional Information”) | Yes No | Yes No |
| Can supplies be accessed by persons with disabilities? | Yes No | Yes No |

Additional Information:

# Elevator(s) Building [Location/Building No.:      ]

| SECTION DETAILS — ELEVATOR(S) BUILDING |  |
| --- | --- |
| Location / Building name: | Click to enter location or building name |
| Date constructed: | Click to pick date constructed |
| Era — Standard at construction: | Click to choose era → standard |
| Date of ADA modification: | Click to pick modification date, or skip |
| Era — Standard after modification: | Click to choose era → standard (or N/A) |
| Describe modification: | Click to describe what was modified (e.g., restroom gutted and rebuilt) |
| ▸ Applicable Standard = the LATER of the two eras above. If "Not modified," use the construction era. Reviewer will verify. |  |

*Note: If section is not applicable, please check “N/A” box.

| Year Built: |  |
| --- | --- |
| ADA Modification Date(s): N/A |  |
| Identify ADA Modifications: N/A |  |

- Does a building have multiple stories? Yes  No

- If a building has multiple stories, are elevators available to and usable by individuals with a physical disability? (If yes, please provide answers to the remaining questions) Yes  No

- Is there unassisted access to elevator by students? Yes  No

- Are elevator buttons easy to push or touch sensitive? Yes  No

- Is there a hall lantern? Yes  No

- Are there visible and audible signals at each hoist way entrance? Yes  No

- Are elevator call controls 15-48 inches from the floor? Yes  No

- Height of call button (from floor to center of call button panel):

- Do call buttons have visible and audible signals to indicate when each call is registered? Yes  No

- Do audible signals sound once for up and twice for down or have verbal annunciators? Yes  No

- Do all elevator hoist way entrances have raised and braille floor designations on both door jams? Yes  No

- Do elevator doors automatically stop and open if the door becomes obstructed and remains open for a minimum of 20 seconds? Yes  No

- Type of elevator entrance door? Centered  Sliding  Other :

- Measurements of the elevator entrance door (in inches):

- Do doors require physical touch to stop from closing? Yes  No

- Width of car dimensions and doors (in inches):

- Measurement inside elevator (in inches) Width:        Depth:

- Is the emergency alarm and stop located at the bottom of the panel? Yes  No

- Height of emergency communications if provided (Measure from floor to bottom of panel, in inches):

- If elevator is not accessible, is elevator that is accessible clearly identified with International Symbol of Accessibility? Yes  No

Additional Information:

# Lifts [Location/Building No.:      ]

| SECTION DETAILS — LIFTS |  |
| --- | --- |
| Location / Building name: | Click to enter location or building name |
| Date constructed: | Click to pick date constructed |
| Era — Standard at construction: | Click to choose era → standard |
| Date of ADA modification: | Click to pick modification date, or skip |
| Era — Standard after modification: | Click to choose era → standard (or N/A) |
| Describe modification: | Click to describe what was modified (e.g., restroom gutted and rebuilt) |
| ▸ Applicable Standard = the LATER of the two eras above. If "Not modified," use the construction era. Reviewer will verify. |  |

*Note: If section is not applicable, please check “N/A” box.

| Year Built: |  |
| --- | --- |
| ADA Modification Date(s): N/A |  |
| Identify ADA Modifications: N/A |  |

- Do platform lifts provide unassisted entry and exit from the lift? Yes  No

- Do walkways have a leveled platform to runway clearance? Yes  No

- Measurement of clear space for approach: length         width

- Operable Parts Height of controls (from floor to middle of control panel, in inches)

- Do platform lifts have low-energy, power-operated doors or gates? Yes  No

- Do doors remain open for 20 seconds minimum? Yes  No

- Width of end doors and gates

- Width of side doors and gates

- Measurement inside lift (in inches) Width:        Depth:

Additional Information:

# Accessible Drinking Fountains

| SECTION DETAILS — ACCESSIBLE DRINKING FOUNTAINS |  |
| --- | --- |
| Location / Building name: | Click to enter location or building name |
| Date constructed: | Click to pick date constructed |
| Era — Standard at construction: | Click to choose era → standard |
| Date of ADA modification: | Click to pick modification date, or skip |
| Era — Standard after modification: | Click to choose era → standard (or N/A) |
| Describe modification: | Click to describe what was modified (e.g., restroom gutted and rebuilt) |
| ▸ Applicable Standard = the LATER of the two eras above. If "Not modified," use the construction era. Reviewer will verify. |  |

* Note: If section is not applicable, please indicate “Not Applicable” or check “N/A box.

| Location: |  |  |  |  |
| --- | --- | --- | --- | --- |
| Year Built: |  |  |  |  |
| ADA Modification Date(s): N/A |  |  |  |  |
| Identify ADA Modifications: N/A |  |  |  |  |
| Are drinking fountains provided? | Yes No | Yes No | Yes No | Yes No |
| Number of fountains: |  |  |  |  |
| Number of accessible fountains: |  |  |  |  |
| Are 50% of the water fountains accessible to and usable by individuals with a physical disability (spout 36 inches or less from floor)? | Yes No | Yes No | Yes No | Yes No |
| Is the fountain on an accessible route? | Yes No | Yes No | Yes No | Yes No |
| Is there 30 by 48 inches clear floor space in front of the fountain? | Yes No | Yes No | Yes No | Yes No |
| Height of fountain (from ground to top edge of fountain): |  |  |  |  |
| Height of Spout (from ground to spout outlet): |  |  |  |  |
| Height of Water Flow (measured from fountain to top of arc): |  |  |  |  |
| Is the water flow within four inches of the spout towards front of fountain? | Yes No | Yes No | Yes No | Yes No |
| Do the water fountains have an up-front spout and control? | Yes No | Yes No | Yes No | Yes No |
| Are water fountains hand operated? | Yes No | Yes No | Yes No | Yes No |
| Are controls mounted on the front or side? | Front Side | Front Side | Front Side | Front Side |
| Are controls operable with a closed fist? | Yes No | Yes No | Yes No | Yes No |
| Do operable parts require tight grasping, pinching, or twisting of the wrist? | Yes No | Yes No | Yes No | Yes No |
| Does the force required to activate operable parts exceed 5 pounds? | Yes No | Yes No | Yes No | Yes No |
| Do the water fountains protrude into regular corridors or traffic ways? | Yes No | Yes No | Yes No | Yes No |
| If yes, please describe: |  |  |  |  |

Additional Information:

# Water Coolers & Bottle Fillers

| SECTION DETAILS — WATER COOLERS & BOTTLE FILLERS |  |
| --- | --- |
| Location / Building name: | Click to enter location or building name |
| Date constructed: | Click to pick date constructed |
| Era — Standard at construction: | Click to choose era → standard |
| Date of ADA modification: | Click to pick modification date, or skip |
| Era — Standard after modification: | Click to choose era → standard (or N/A) |
| Describe modification: | Click to describe what was modified (e.g., restroom gutted and rebuilt) |
| ▸ Applicable Standard = the LATER of the two eras above. If "Not modified," use the construction era. Reviewer will verify. |  |

* Note: If section is not applicable, please indicate “Not Applicable” or check “N/A box.

| Location: |  |  |  |  |
| --- | --- | --- | --- | --- |
| Year Built: |  |  |  |  |
| ADA Modification Date(s): N/A |  |  |  |  |
| Identify ADA Modifications: N/A |  |  |  |  |
| Are Bottle Filler stations available? | Yes No | Yes No | Yes No | Yes No |
| Is the station located on an accessible route? | Yes No | Yes No | Yes No | Yes No |
| Is there 30 inches by 48 inches clear floor space in front of the station? | Yes No | Yes No | Yes No | Yes No |
| Are stations hand operated? | Yes No | Yes No | Yes No | Yes No |
| Are the stations sensor operated? | Yes No | Yes No | Yes No | Yes No |
| Are controls mounted on the front or side? | Front Side | Front Side | Front Side | Front Side |
| Are controls operable with a closed fist? | Yes No | Yes No | Yes No | Yes No |
| Do operable parts require tight grasping, pinching, or twisting of the wrist? | Yes No | Yes No | Yes No | Yes No |
| Does the force required to activate operable parts exceed 5 pounds? | Yes No | Yes No | Yes No | Yes No |

Additional Information:

Cafeteria [Building No.:      ]

*Note: If section is not applicable, please check “N/A” box.

| Year Built: |  |
| --- | --- |
| ADA Modification Date(s): N/A |  |
| Identify ADA Modifications: N/A |  |

- Is identification signage provided at accessible entrances and spaces?
Yes  No

  - If no, please identify which areas do not have signage:

  - Height of accessible signage (from floor to centerline, in inches)

  - Height of characters on signage (in inches)

  - Are signs mounted on the wall adjacent to the latch side of the door?

Yes  No

  - At double doors, are the signs placed on the nearest adjacent wall?

Yes  No

  - Are there any protruding objects within three (3) inches of the sign?

Yes  No

  - Do the signs’ characters and background have a non-glare finish?

Yes  No

  - Are characters on signs raised and accompanied by grade II (contracted) braille? Yes  No

- How many entrances and exits are there?

  - Width of door(s) (in inches):

  - Height of door handle (from finished floor to handle, in inches):

  - Can door be opened without grasping or twisting of the wrist? Yes  No

  - If not, what type of hardware is on the door (i.e., push bar, door knob, push/pull lever, etc.)?

  - If door has a closer, does it take at least 3 seconds to close?  Yes  No

  - Is the cafeteria door(s) a fire door? Yes  No

  - Door opening force in pounds (push/pull weight):

  - Thresholds height level at doorway (in inches):

Exterior:         Interior:

- Is the cafeteria on an accessible route? Yes  No

- Are there ramps going towards the cafeteria? Yes  No

*If yes, include the ramp measurements under the section titled, “Ramps”

- If provided, are carpeting or mats a ½ inch high? Yes   No

- Is there a visual alarm? Yes  No

  - Does light flash? Yes  No

  - Does light flash clear or normal white? Yes  No

  - Is there an audible alarm? Yes  No

  - Does the alarm sound exceed the prevailing sound level in room?

Yes  No

- Total number of fixed accessible seats indoors:

- Are the seats and tables on an accessible route? Yes  No

- Is seating space provided for people in wheelchairs at fixed tables or counters?

Yes  No

- Number of seats provided:

- Enter the height of fixed tables or countertops (from floor):

- Wheelchair space measurement (in inches): Width:       Depth:

- Is there appropriate floor space? Yes  No

- Measurement of knee clearance:

    - Height:

    - Width:

    - Depth:

- Total number of fixed accessible seats outdoors:

- Are the seats and tables on an accessible route? Yes  No

- Is seating space provided for people in wheelchairs at fixed tables or counters?

Yes  No

- Number of seats provided:

- Enter the height of fixed tables or countertops (from floor):

- Wheelchair space measurement (in inches): Width:       Depth:

- Is there appropriate floor space? Yes  No

- Measurement of knee clearance:

    - Height:

    - Width:

    - Depth:

- Total number of food lines:

  - Measurement of the food line width:

  - Height of food line counter:

- Total number of checkout aisles:

- Height of tableware and condiment areas:

Additional Information:

# Library [Building No.:      ]

| SECTION DETAILS — LIBRARY |  |
| --- | --- |
| Location / Building name: | Click to enter location or building name |
| Date constructed: | Click to pick date constructed |
| Era — Standard at construction: | Click to choose era → standard |
| Date of ADA modification: | Click to pick modification date, or skip |
| Era — Standard after modification: | Click to choose era → standard (or N/A) |
| Describe modification: | Click to describe what was modified (e.g., restroom gutted and rebuilt) |
| ▸ Applicable Standard = the LATER of the two eras above. If "Not modified," use the construction era. Reviewer will verify. |  |

*Note: If section is not applicable, please check “N/A” box.

| Year Built: |  |
| --- | --- |
| ADA Modification Date(s): N/A |  |
| Identify ADA Modifications: N/A |  |

- Is identification signage provided at accessible entrances and spaces? 
Yes  No

(Please identify which areas do not have signage):

  - Height of accessible signage (from floor to centerline, in inches):

  - Height of characters on signage (in inches):

  - Are signs mounted on the wall adjacent to the latch side of the door?

Yes  No

  - At double doors, are the signs placed on the nearest adjacent wall?

Yes  No

  - Are there any protruding objects within three (3) inches of the sign?

Yes  No

  - Do the signs’ characters and background have a non-glare finish?

Yes  No

  - Are characters on signs raised and accompanied by grade II (contracted) braille? Yes  No

- How many entrances and exits are there?

  - Width of door(s) (in inches):

  - Height of door handle (from finished floor to handle, in inches):

  - Can door be opened without grasping or twisting of the wrist? Yes  No

  - If not, what type of hardware is on the door (i.e., push bar, door knob, push/pull lever, etc.)?

  - If door has a closer, does it take at least 3 seconds to close?  Yes  No

  - Is the library door(s) a fire door or exterior hinged door? Yes  No

  - Door opening force in pounds (push/pull weight):

  - Thresholds height level at doorway (in inches):

Exterior:         Interior:

- If provided, are carpeting or mats a ½ inch high? Yes  No

- Is the library on an accessible route? Yes  No

  - Are there ramps that lead to the library? Yes  No

*If yes, include the ramp measurements under the section titled, “Ramps”

- Is there a visual alarm? Yes  No

  - Does light flash? Yes  No

  - Does light flash clear or normal white? Yes  No

  - Is there an audible alarm? Yes  No

  - Does the alarm sound exceed the prevailing sound level in room?

Yes  No

- Is seating space provided for people in wheelchairs at fixed tables or counters?

Yes  No

  - Are the seats and tables on an accessible route? Yes  No

  - Number of seats provided:

  - Enter the height of fixed tables or countertops:

  - Measurement of aisle space (in inches): Width:

  - Measurement of knee clearance (in inches):

Height:       Width:       Depth:

  - Accessible desk and workstations have sufficient clearance? Yes  No

  - If accessible desk and workstations do not have sufficient clearance, is there an alternative option for students? (Please explain below in “Additional Information”) Yes  No

- Number of accessible check-out areas:

- Height of counter top from floor to table top (in inches):

- Counter top measurement (in inches): Width:       Depth:

- Measurement of knee clearance (in inches):

Height:       Width:       Depth:

- Card catalogs measurements (in inches), aisle space Width:

- Stack measurements, aisle space between stack (in inches) Width:

Additional Information:

# CTE Classroom(s)

| SECTION DETAILS — CTE CLASSROOM(S) |  |
| --- | --- |
| Location / Building name: | Click to enter location or building name |
| Date constructed: | Click to pick date constructed |
| Era — Standard at construction: | Click to choose era → standard |
| Date of ADA modification: | Click to pick modification date, or skip |
| Era — Standard after modification: | Click to choose era → standard (or N/A) |
| Describe modification: | Click to describe what was modified (e.g., restroom gutted and rebuilt) |
| ▸ Applicable Standard = the LATER of the two eras above. If "Not modified," use the construction era. Reviewer will verify. |  |

| *Note: If section is not applicable, please check “N/A” box. | Building No.: | Building No.: |
| --- | --- | --- |
| Room numbers: |  |  |
| Year Built: |  |  |
| ADA Modification Date(s): N/A |  |  |
| Identify ADA Modifications: N/A |  |  |
| Is the classroom located along an accessible route? | Yes No | Yes No |
| Is room no. signage provided to identify classrooms? | Yes No | Yes No |
| Height of accessible signage (from floor to centerline of the sign, in inches): |  |  |
| Height of characters on signage: |  |  |
| Are signs mounted on the wall adjacent to the latch side of the door? | Yes No | Yes No |
| At double doors, are the signs placed on the nearest adjacent wall? | Yes No | Yes No |
| Are there any protruding objects within three (3) inches of the sign? | Yes No | Yes No |
| Do the signs’ characters and background have a non-glare finish? | Yes No | Yes No |
| Are characters on signs raised and accompanied by grade II (contracted) braille? | Yes No | Yes No |
| How many entrances and exits are provided? |  |  |
| Is the entrance/ exit door a fire door or exterior hinged door? | Yes No | Yes No |
| *Width of doorway(s) to classroom: |  |  |
| *Height of door handle: |  |  |
| Can door be opened without grasping or twisting of the wrist? | Yes No | Yes No |
| If not, what type of hardware is on the door (i.e., push bar, door knob, push/pull lever, etc.)? |  |  |
| If door has a closer, does it take at least 3 seconds to close? | Yes No | Yes No |
| Door opening force in pounds (push/pull weight) |  |  |
| Is there a visual alarm? | Yes No | Yes No |
| Does light flash (for the visual alarm)? | Yes No | Yes No |
| Does light flash clear or normal white? | Yes No | Yes No |
| Is there an audible alarm? | Yes No | Yes No |
| Does the alarm sound exceed the prevailing sound level in room? | Yes No | Yes No |
| Is seating space provided for people in wheelchairs at fixed tables or counters? | Yes No | Yes No |
| Number of seats provided: |  |  |
| Enter the height of fixed tables or countertops: |  |  |
| Measurement of aisle space (in inches): | Width: | Width: |
| Measurement of knee clearance (in inches): | Height: Width: Depth: | Height: Width: Depth: |
| Accessible desk and workstations have sufficient clear space? | Yes No | Yes No |
| If accessible desk and workstations do not have sufficient clearance, is there an alternative option for students? (Please explain below in “Additional Information”) | Yes No | Yes No |
| Can supplies be accessed by a person with a disability? | Yes No | Yes No |

Additional Information:

# Labs/Shops

| SECTION DETAILS — LABS/SHOPS |  |
| --- | --- |
| Location / Building name: | Click to enter location or building name |
| Date constructed: | Click to pick date constructed |
| Era — Standard at construction: | Click to choose era → standard |
| Date of ADA modification: | Click to pick modification date, or skip |
| Era — Standard after modification: | Click to choose era → standard (or N/A) |
| Describe modification: | Click to describe what was modified (e.g., restroom gutted and rebuilt) |
| ▸ Applicable Standard = the LATER of the two eras above. If "Not modified," use the construction era. Reviewer will verify. |  |

| *Note: If section is not applicable, please check “N/A” box. | Building No.: | Building No.: |
| --- | --- | --- |
| Room numbers: |  |  |
| Year Built: |  |  |
| ADA Modification Date(s): N/A |  |  |
| Identify ADA Modifications: N/A |  |  |
| Is the classroom located along an accessible route? | Yes No | Yes No |
| Is room no. signage provided to identify classrooms? | Yes No | Yes No |
| Height of accessible signage (from floor to centerline of the sign, in inches): |  |  |
| Height of characters on signage: |  |  |
| Are signs mounted on the wall adjacent to the latch side of the door? | Yes No | Yes No |
| At double doors, are the signs placed on the nearest adjacent wall? | Yes No | Yes No |
| Are there any protruding objects within three (3) inches of the sign? | Yes No | Yes No |
| Do the signs’ characters and background have a non-glare finish? | Yes No | Yes No |
| Are characters on signs raised and accompanied by grade II (contracted) braille? | Yes No | Yes No |
| Is there a visual alarm? | Yes No | Yes No |
| Does light flash? | Yes No | Yes No |
| Does light flash clear or normal white? | Yes No | Yes No |
| Is there an audible alarm? | Yes No | Yes No |
| Does the alarm sound exceed the prevailing sound level in room? | Yes No | Yes No |
| Number of entrances and number of exits: |  |  |
| Is the entrance/ exit door a fire door or exterior hinged door: | Yes No | Yes No |
| *Width of doorway(s) to classroom |  |  |
| *Height of door handle |  |  |
| Can door be opened without grasping or twisting of the wrist | Yes No | Yes No |
| If not, what type of hardware is on the door (i.e., push bar, door knob, push/pull lever, etc.)? |  |  |
| If door has a closer, does it take at least 3 seconds to close? | Yes No | Yes No |
| Door opening force in pounds (push/pull weight): |  |  |
| Is seating space provided for people in wheelchairs at fixed tables or counters? | Yes No | Yes No |
| Number of seats provided: |  |  |
| Enter the height of fixed tables or countertops: |  |  |
| Measurement of aisle space (in inches): | Width: | Width: |
| Measurement of knee clearance (in inches): | Height: Width: Depth: | Height: Width: Depth: |
| Accessible desk and workstations have sufficient clearspace? | Yes No | Yes No |
| If accessible desk and workstations do not have sufficient clearance, is there an alternative option for students? (Please explain below in “Additional Information”) | Yes No | Yes No |
| Can supplies be accessed by a person with a disability? | Yes No | Yes No |
| *Height of soap dispenser Measurement from floor to operable part: |  |  |
| *Height of paper towel dispenser: |  |  |

Additional Information:

# Gymnasium/Auditorium/Weight Room/Other

| SECTION DETAILS — GYMNASIUM/AUDITORIUM/WEIGHT ROOM/OTHER |  |
| --- | --- |
| Location / Building name: | Click to enter location or building name |
| Date constructed: | Click to pick date constructed |
| Era — Standard at construction: | Click to choose era → standard |
| Date of ADA modification: | Click to pick modification date, or skip |
| Era — Standard after modification: | Click to choose era → standard (or N/A) |
| Describe modification: | Click to describe what was modified (e.g., restroom gutted and rebuilt) |
| ▸ Applicable Standard = the LATER of the two eras above. If "Not modified," use the construction era. Reviewer will verify. |  |

| *Note: If section is not applicable, please check “N/A” box. | Building No.: | Building No.: |
| --- | --- | --- |
| Room numbers: |  |  |
| Year Built: |  |  |
| ADA Modification Date(s): N/A |  |  |
| Identify ADA Modifications: N/A |  |  |
| Is the gym located along an accessible route? | Yes No | Yes No |
| Is room no. signage provided to identify classrooms? | Yes No | Yes No |
| Height of accessible signage (from floor to centerline of the sign, in inches): |  |  |
| Height of characters on signage: |  |  |
| Are signs mounted on the wall adjacent to the latch side of the door? | Yes No | Yes No |
| At double doors, are the signs placed on the nearest adjacent wall? | Yes No | Yes No |
| Are there any protruding objects within three (3) inches of the sign? | Yes No | Yes No |
| Do the signs’ characters and background have a non-glare finish? | Yes No | Yes No |
| Are characters on signs raised and accompanied by grade II (contracted) braille? | Yes No | Yes No |
| How many entrances and exits are there? |  |  |
| Is the entrance/ exit door a fire door or exterior hinged door? | Yes No | Yes No |
| *Width of doorway(s) to classroom: |  |  |
| *Height of door handle: |  |  |
| Can door be opened without grasping or twisting of the wrist? | Yes No | Yes No |
| If not, what type of hardware is on the door (i.e., push bar, door knob, push/pull lever, etc.)? |  |  |
| If door has a closer, does it take at least 3 seconds to close? | Yes No | Yes No |
| Door opening force in pounds (push/pull weight) |  |  |
| Is there a visual alarm? | Yes No | Yes No |
| Does light flash (for the visual alarm)? | Yes No | Yes No |
| Does light flash clear or normal white? | Yes No | Yes No |
| Is there an audible alarm? | Yes No | Yes No |
| Does the alarm sound exceed the prevailing sound level in room? | Yes No | Yes No |
| Can supplies be accessed by a person with a disability? | Yes No | Yes No |
| Is there an accessible route to the area? | Yes No | Yes No |
| Is there a ramp that leads to the seating area? If yes, include the ramp measurements under the section titled, “Ramps” | Yes No | Yes No |
| Total number of all seating: |  |  |
| Total number of wheelchair seats: |  |  |
| Is wheelchair seating located in different locations? | Yes No | Yes No |
| Is a companion seat provided with wheelchair seating? | Yes No | Yes No |
| Is there audio-amplification? | Yes No | Yes No |
| If audio amplification system is fixed, how far away is it from the stage? |  |  |
| In assembly areas, where audible communications are integral to the use of the space, are an adequate number of assistive listening systems provided? | Yes No | Yes No |
| Is there signage indicating the availability of the assistive listening devices? | Yes No | Yes No |
| Is seating space provided for people in wheelchairs at fixed tables or counters? | Yes No | Yes No |
| Number of seats provided: |  |  |
| Enter the height of fixed tables or countertops: |  |  |
| Wheelchair space measurement (in inches): | Width: Depth: | Width: Depth: |
| Measurement of knee clearance (in inches): | Height: Width: Depth: | Height: Width: Depth: |
| Accessible desk and workstations have sufficient clearance? | Yes No | Yes No |
| If accessible desk and workstations do not have sufficient clearance, is there an alternative option for students? (Please explain below in “Additional Information”) | Yes No | Yes No |
| Can supplies be accessed by a person with a disability? | Yes No | Yes No |

Additional Information:

# Stadium/Field

| SECTION DETAILS — STADIUM/FIELD |  |
| --- | --- |
| Location / Building name: | Click to enter location or building name |
| Date constructed: | Click to pick date constructed |
| Era — Standard at construction: | Click to choose era → standard |
| Date of ADA modification: | Click to pick modification date, or skip |
| Era — Standard after modification: | Click to choose era → standard (or N/A) |
| Describe modification: | Click to describe what was modified (e.g., restroom gutted and rebuilt) |
| ▸ Applicable Standard = the LATER of the two eras above. If "Not modified," use the construction era. Reviewer will verify. |  |

*Note: If section is not applicable, please check “N/A” box.

| Year Built: |  |
| --- | --- |
| ADA Modification Date(s): N/A |  |
| Identify ADA Modifications: N/A |  |

- Is there an accessible route to the area? Yes  No

- Route to stadium/field path of travel with/without unleveled surface, made of:

Asphalt  or Gravel  or Dirt

- Total number of wheelchair designated seats/spaces?

- Is there wheelchair designated seating? Yes  No

- Is there an accessible route to wheelchair designated seats? Yes  No

- Is there a ramp that leads to wheelchair designated seating area? Yes  No

*If yes, include the ramp measurements under the section titled, “Ramps”

Additional Information:

# Dressing, Fitting and Locker Rooms: [Building No.:      ]

| SECTION DETAILS — DRESSING, FITTING AND LOCKER ROOMS |  |
| --- | --- |
| Location / Building name: | Click to enter location or building name |
| Date constructed: | Click to pick date constructed |
| Era — Standard at construction: | Click to choose era → standard |
| Date of ADA modification: | Click to pick modification date, or skip |
| Era — Standard after modification: | Click to choose era → standard (or N/A) |
| Describe modification: | Click to describe what was modified (e.g., restroom gutted and rebuilt) |
| ▸ Applicable Standard = the LATER of the two eras above. If "Not modified," use the construction era. Reviewer will verify. |  |

*Note: If section is not applicable, please check “N/A” box.

| Year Built: |  |
| --- | --- |
| ADA Modification Date(s): N/A |  |
| Identify ADA Modifications: N/A |  |

|  | Male Locker Room | Female Locker Room |
| --- | --- | --- |
| Number of Locker Rooms: |  |  |
| Is the locker room on an accessible route? | Yes No | Yes No |
| Is signage provided to identify locker room? | Yes No | Yes No |
| Height of accessible signage (from floor to centerline of the sign, in inches): |  |  |
| Height of tactile characters on signage: |  |  |
| Are signs mounted on the wall adjacent to the latch side of the door? | Yes No | Yes No |
| At double doors, are the signs placed on the nearest adjacent wall? | Yes No | Yes No |
| Are there any protruding objects within three (3) inches of the sign? | Yes No | Yes No |
| Do the signs’ characters and background have a non-glare finish? | Yes No | Yes No |
| Are characters on signs raised and accompanied by grade II (contracted) braille? | Yes No | Yes No |
| Width of the entrance doorway: |  |  |
| Door opening force in pounds (push/pull weight): |  |  |
| Does the door take at least 3 seconds to close? | Yes No | Yes No |
| Height of handle(s) on entrance door: |  |  |
| Does the locker room have a foyer? | Yes No | Yes No |
| Measurement between doors in foyer: |  |  |
| What is the turning space measurement? |  |  |
| Do locker rooms have a turning space 60 inches by 60 inches to allow traffic of individuals in wheelchairs? | Yes No | Yes No |
| Do doors swing into turning spaces? | Yes No | Yes No |
| Locker Room Amenities |  |  |
| Is a mirror provided? | Yes No | Yes No |
| Height of mirror: |  |  |
| Are accessible benches provided? | Yes No | Yes No |
| Height of benches (from floor): |  |  |
| Depth of benches: |  |  |
| Is there back support on the benches? | Yes No | Yes No |
| Height of back support: |  |  |
| Width of clear floor space: |  |  |
| Shower Rooms |  |  |
| Are the showers being used? | Yes No | Yes No |
| Number of Showers: |  |  |
| Is there an accessible shower room? | Yes No | Yes No |
| Is the shower located on an accessible route? | Yes No | Yes No |
| Width of the accessible shower: |  |  |
| Depth of the accessible shower: |  |  |
| Does the shower have a curb? |  |  |
| Height of curb in shower: |  |  |
| Does the shower have grab bars? | Yes No | Yes No |
| Location of grab bars: |  |  |
| Height of grab bars: |  |  |
| Length of grab bars: |  |  |
| Depth of grab bars (from wall): |  |  |
| Does the shower have an accessible seat? | Yes No | Yes No |
| Height of shower seat: |  |  |
| Restroom Amenities |  |  |
| Does the entrance to restroom have accessible wall signage (ISA)? | Yes No | Yes No |
| Is accessible signage mounted on the wall adjacent to the latch side of the door? | Yes No | Yes No |
| Height of accessible signage: |  |  |
| Height of tactile characters on signage: |  |  |
| Does the ISA contrast with the background with either a light-on-dark or dark-on-light background? | Yes No | Yes No |
| Are characters on signs raised and accompanied by grade II (contracted) braille? | Yes No | Yes No |
| Is there a separate restroom entrance? | Yes No | Yes No |
| Width of restroom entrance: |  |  |
| Is there hot water available in the restroom(s)? | Yes No | Yes No |
| If yes, are hot water pipes under the sink covered? | Yes No | Yes No |
| Height of sink(s): |  |  |
| Height of soap dispenser(s): |  |  |
| Height of mirror(s): |  |  |
| Height of paper towel dispenser(s): |  |  |
| Height of automatic hand dryer(s): |  |  |
| Are sinks constructed to be usable by individuals in wheelchairs? | Yes No | Yes No |
| Are racks, dispensers and disposal units conveniently located for all users (not protruding into walkways)? | Yes No | Yes No |
| Urinals |  |  |
| Height of urinal(s): |  |  |
| Width of space around urinal(s): |  |  |
| Depth of space around urinal(s): |  |  |
| Accessible Stall |  |  |
| Does the restroom have a designated accessible stall? | Yes No | Yes No |
| Width of accessible stall: |  |  |
| Depth of accessible stall: |  |  |
| Does accessible restroom have a stall door? | Yes No | Yes No |
| Width of stall door: |  |  |
| Does the stall have a door that swings out? | Yes No | Yes No |
| Does the accessible stall have grab bars? | Yes No | Yes No |
| Location of the grab bars: |  |  |
| Height of grab bars: |  |  |
| Length of grab bars: |  |  |
| Depth of grab bars (from wall): |  |  |
| Height of accessible toilet seat: |  |  |
| Height of accessible flush controls: |  |  |
| Are there any obstructions to reach the toilet paper dispenser? | Yes No | Yes No |
| Is the toilet paper dispenser operable with one hand? | Yes No | Yes No |
| Does the toilet paper dispenser allow for a continuous flow of paper? | Yes No | Yes No |
| Does the toilet paper dispenser require tight grasping, pinching, or twisting of the wrist? | Yes No | Yes No |
| Height of Toilet paper dispenser: |  |  |

Additional Information:

# Restrooms (Male/Female) [Building No.:      ]

| SECTION DETAILS — RESTROOMS (MALE/FEMALE) |  |
| --- | --- |
| Location / Building name: | Click to enter location or building name |
| Date constructed: | Click to pick date constructed |
| Era — Standard at construction: | Click to choose era → standard |
| Date of ADA modification: | Click to pick modification date, or skip |
| Era — Standard after modification: | Click to choose era → standard (or N/A) |
| Describe modification: | Click to describe what was modified (e.g., restroom gutted and rebuilt) |
| ▸ Applicable Standard = the LATER of the two eras above. If "Not modified," use the construction era. Reviewer will verify. |  |

*Note: If section is not applicable, please check “N/A” box.

| Year Built: |  |
| --- | --- |
| ADA Modification Date(s): N/A |  |
| Identify ADA Modifications: N/A |  |

|  | Male Restroom | Female Restroom |
| --- | --- | --- |
| Is the restroom on an accessible route? | Yes No | Yes No |
| Total number of accessible restrooms in building: |  |  |
| If there are no accessible restrooms in building, is there directional signage to nearest accessible restrooms? | Yes No | Yes No |
| Does the restroom have accessible door signage (ISA)? | Yes No | Yes No |
| Height of accessible signage (from floor to centerline of the sign, in inches): |  |  |
| Does the ISA contrast with the background with either a light-on-dark or dark-on-light background? | Yes No | Yes No |
| Do the signs’ characters and background have a non-glare finish? | Yes No | Yes No |
| Are characters on signs raised and accompanied by grade II (contracted) braille? | Yes No | Yes No |
| Height of tactile characters on signage: |  |  |
| Is accessible signage mounted on the wall adjacent to the latch side of the door? | Yes No | Yes No |
| At double doors, is the accessible signage placed on the nearest adjacent wall? | Yes No | Yes No |
| Are there any protruding objects within three (3) inches of the sign? | Yes No | Yes No |
| Do the entrance doors swing out? | Yes No | Yes No |
| Width of the entrance doorway: |  |  |
| Height of handle(s) on restroom entrance door: |  |  |
| Does the restroom have a foyer? | Yes No | Yes No |
| Measurement between doors in foyer: |  |  |
| Door opening force in pounds (push/pull weight): |  |  |
| Restroom Amenities |  |  |
| Is there hot water available in the restroom(s)? | Yes No | Yes No |
| If yes, are hot water pipes under the sink covered? | Yes No | Yes No |
| Height of sink(s): |  |  |
| Height of soap dispenser(s): |  |  |
| Height of mirror(s): |  |  |
| Height of paper towel dispenser(s): |  |  |
| Height of automatic hand dryer(s): |  |  |
| Are sinks constructed to be usable by individuals in wheelchairs? | Yes No | Yes No |
| Are racks, dispensers and disposal units conveniently located for all users (not protruding into walkways)? | Yes No | Yes No |
| Urinals |  |  |
| Height of urinal(s): |  |  |
| Width of space around urinal(s): |  |  |
| Depth of space around urinal(s): |  |  |
| Accessible Stall |  |  |
| Does the restroom have a designated accessible stall? | Yes No | Yes No |
| Width of accessible stall: |  |  |
| Depth of accessible stall: |  |  |
| Does accessible restroom have a stall door? | Yes No | Yes No |
| Do the stall doors swing out? | Yes No | Yes No |
| Width of stall door: |  |  |
| Does the accessible stall have grab bars? | Yes No | Yes No |
| Location of the grab bars: |  |  |
| Height of grab bars: |  |  |
| Length of grab bars: |  |  |
| Depth of grab bars (from wall): |  |  |
| Height of accessible toilet seat: |  |  |
| Height of flush control(s): |  |  |
| Are there any obstructions to reach the toilet paper dispenser? | Yes No | Yes No |
| What is the location of the toilet tissue dispenser? |  |  |
| Is the toilet paper dispenser operable with one hand? | Yes No | Yes No |
| Does the toilet paper dispenser allow for a continuous flow of paper? | Yes No | Yes No |
| Does the toilet paper dispenser require tight grasping, pinching, or twisting of the wrist? | Yes No | Yes No |
| Height of toilet paper dispenser: |  |  |
| Are coat hooks and shelves provided? | Yes No | Yes No |
| If yes, what is the measurement of the Coat Hook from the floor (in inches): |  |  |
| Type of reach for coat hook: | forward side reach | forward side reach |

Additional Information:

# Public Telephones [Location:       ]

| SECTION DETAILS — PUBLIC TELEPHONES |  |
| --- | --- |
| Location / Building name: | Click to enter location or building name |
| Date constructed: | Click to pick date constructed |
| Era — Standard at construction: | Click to choose era → standard |
| Date of ADA modification: | Click to pick modification date, or skip |
| Era — Standard after modification: | Click to choose era → standard (or N/A) |
| Describe modification: | Click to describe what was modified (e.g., restroom gutted and rebuilt) |
| ▸ Applicable Standard = the LATER of the two eras above. If "Not modified," use the construction era. Reviewer will verify. |  |

*Note: If section is not applicable, please check “N/A” box.

| Year Built: |  |
| --- | --- |
| ADA Modification Date(s): N/A |  |
| Identify ADA Modifications: N/A |  |

- Is there a public telephone? (If yes, please provide answers to the remaining questions) Yes  No

- Measurement of clear floor space: Width:       Length:

- Are there any protruding objects? Yes  No

- Are there push button controls?  Yes  No

- Cord Length (from the telephone to the handset):

- Is it a parallel approach to the telephone or forward approach?

Parallel Approach   Forward Approach

- Distance from the front edge of a counter within the telephone enclosure to the face of the telephone unit:

- Is the highest operable part within 15 and 48 inches? (54” max if side approach?)

Yes  No

- Is the telephone hearing aid compatible? Yes  No

- Does telephone provide volume control? Yes  No

- If more than 4 pay telephones are provided, is a TTY available? Yes  No

- Height of touch surface of TTY keypads:

- Are telephones with TTYL equipped with a shelf and an electrical outlet within or adjacent to the telephone enclosure? Yes  No

Additional Information:

# Glossary of Terms

As defined by 2010 ADA Standards

Note: The terms defined below are only applicable for the completion of this document

Accessible: A site, building, facility, or portion thereof that complies with accessibility standards.

Alteration: A change to a building or facility that affects or could affect the usability of the building or facility or portion thereof. Alterations include, but are not limited to, remodeling, renovation, rehabilitation, reconstruction, historic restoration, resurfacing of circulation paths or vehicular ways, changes or rearrangement of the structural parts or elements, and changes or rearrangement in the plan configuration of walls and full-height partitions. Normal maintenance, reroofing, painting or wallpapering, or changes to mechanical and electrical systems are not alterations unless they affect the usability of the building or facility.

Asphalt: A mixture of dark bituminous pitch with sand or gravel, used for surfacing roads, flooring, roofing, etc.

Assembly Area: A building or facility, or portion thereof, used for the purpose of entertainment, educational or civic gatherings, or similar purposes. For the purposes of these requirements, assembly areas include, but are not limited to, classrooms, lecture halls, courtrooms, public meeting rooms, public hearing rooms, legislative chambers, motion picture houses, auditoria, theaters, playhouses, dinner theaters, concert halls, centers for the performing arts, amphitheaters, arenas, stadiums, grandstands, or convention centers.

Assistive Listening System (ALS): An amplification system utilizing transmitters, receivers, and coupling devices to bypass the acoustical space between a sound source and a listener by means of induction loop, radio frequency, infrared, or direct-wired equipment.

Audible Alarm: A device designed to detect of unauthorized activity which generates an audible sound on or near the premises.

Braille: A form of written language for people who are blind, in which characters are represented by patterns of raised dots that are felt with the fingertips.

Building: Any structure used or intended for supporting or sheltering any use or occupancy.

Characters: Letters, numbers, punctuation marks and typographic symbols.

Common Use: Interior or exterior circulation paths, rooms, spaces, or elements that are not for public use and are made available for the shared use of two or more people.

Cross Slope: The slope that is perpendicular to the direction of travel (see running slope). Cross slope is measured the same way as slope is measured

Curb Ramp: A curb ramp is a short ramp cutting through a curb or built up to it. If designed and constructed to be accessible, a curb ramp provides an accessible route that people with disabilities can use to safely transition from a roadway to a curbed sidewalk and vice versa.

The different parts of the most common type of curb ramp, a perpendicular curb ramp, are labeled in the illustration below. The ramp, or ramp run, is the sloped section that individuals who use wheelchairs travel up and down when transitioning between the street and the sidewalk. Transitions between the ramp and the sidewalk, gutter and street are located at the top and bottom of the ramp run. Flared sides, or flares, bring the curb itself to the level of the street. The gutter is the roadway surface immediately next to the curb ramp that runs along the curb.

Detectable Warning. A standardized surface feature built in or applied to walking surfaces or other elements to warn of hazards on a circulation path.

Dispensers: Bathroom dispensers, typically referring to soap dispensers and product dispensers, are devices that offer common bathroom products in small, single-use quantities.

Door Opening Force: The force for pushing or pulling open a door or gate.

Entrance: Any access point to a building or portion of a building or facility used for the purpose of entering. An entrance includes the approach walk, the vertical access leading to the entrance platform, the entrance platform itself, vestibule if provided, the entry door or gate, and the hardware of the entry door or gate.

Facility: All or any portion of buildings, structures, site improvements, elements, and pedestrian routes or vehicular ways located on a site.

Force: Strength or energy as an attribute of physical action or movement. Also defined as a push or pull on an object.

Grab Bars: Grab bars are safety devices designed to enable a person to maintain balance, lessen fatigue while standing, hold some of their weight while maneuvering, or have something to grab onto in case of a slip or fall.

Gravel: A loose aggregation of small water-worn or pounded stones.

Gratings: A framework of metal bars in the form of a grille set into a pavement, serving as a cover or guard to provide slip resistance in all directions.

Hall Lantern: Hall Lanterns are used to indicate the arriving elevator and the direction it will travel. In addition to the illuminated directional indicators, the hall lanterns have an audible tone to indicate direction. Audible signals sound once for elevators going up and sound twice for elevators going down.

Marked Crossing: A crosswalk or other identified path intended for pedestrian use in crossing a vehicular way.

Nosing: The horizontal, protruding edge of a stair where most foot traffic frequently occurs

Operable Part: A component of an element used to insert or withdraw objects, or to activate, deactivate, or adjust the element.

Ramp: A walking surface that has a running slope steeper than 1:20.

Running Slope: The slope that is parallel to the direction of travel (see cross slope).

Risers: Height of step in stairways.

Sales and Services: Check-out aisles, sales counters, service counters, food service lines, queues, and waiting lines.

Space: A definable area, such as a room, toilet room, hall, assembly area, entrance, storage room, alcove, courtyard, or lobby.

Story: That portion of a building or facility designed for human occupancy included between the upper surface of a floor and upper surface of the floor or roof next above. A story containing one or more mezzanines has more than one floor level.

Switchbacks: A switchback ramp design is one of the numerous configurations you can choose from. Its ramps alternate at 180-degree turns, allowing you to ascend landings and elevated spaces safely.

Tactile: An object that can be perceived using the sense of touch.

Thresholds: The threshold is the strip or wood or metal that runs across the bottom of an entry door frame.

Tread: Depth of step in stairways

TTY: An abbreviation for teletypewriter. Machinery that employs interactive text-based communication through the transmission of coded signals across the telephone network. TTYs may include, for example, devices known as TDDs (telecommunication display devices or telecommunication devices for deaf persons) or computers with special modems. TTYs are also called text telephones.

Walkway: An exterior prepared surface for pedestrian use, including pedestrian areas such as plazas and courts.

Wheelchair Space: Space for a single wheelchair and its occupant.